## CB Omni Fusion
CB Omni Fusion Recommended Spares List
Item No. | Description | Quantity | Part Number
1 | RPP4 Board | 1 | 350030-101
2 | Surge Protector, 1 Pole, 420VAC | 1 | 77736
3 | Circuit Breaker, 2 pole, 16 amp | 1 | 000222-039
4 | Circuit Breaker, 1 pole, 1 amp | 1 | 000222-041
5 | Circuit Breaker, 1 pole, 6 amp | 1 | 000222-042
6 | Power Supply, 24 VDC, 7.5A, 180W | 1 | 70827
7 | Axial Fan Assy, 24 VDC | 1 | 486713-101
8 | HUB, LAN, Ethernet Switch | 1 | 002036-003
9 | Fiber Converter & Ethernet Router (inside Elec. Cab.) | 1 | 86269
10 | Thermostat, Changeover, 0-60 deg C | 1 | 64093
11 | Thermostat, SPDT, 24 VDC, 0-60 deg C | 1 | 64096
12 | Sensor, Temperature, RTD, 100 Ohm PT, 40" Leads | 1 | 000928-004
13 | PreAmp Control Board Assembly, Detector Assy | 1 | 485828-102
CB Omni Fusion Wearable Spare Parts List
Item No. | Description | Quantity | Part Number
1 | Bottom, Center Graphite Liner | 1 | Please contact us
2 | Bottom, Center Poly Liners: Front & Back | 1 | Please contact us
3 | Side Poly Liners, LH | 1 | Please contact us
4 | Side Poly Liners, RH | 1 | Please contact us
5 | Side Graphite Liner | 1 | Please contact us

## CB Omni
CB Omni Basic Recommended Spares List
Item No. | Description | Quantity | Part Number
1 | RPP4 Board | 1 | 350030-101
2 | Surge Suppressor, 230VAC | 1 | 77708
3 | Circuit Breaker, 2 pole, 16 amp | 1 | 000222-039
4 | Circuit Breaker, 1 pole, 1 amp | 1 | 000222-041
5 | Circuit Breaker, 1 pole, 6 amp | 1 | 000222-040
6 | Power Supply, 24 VDC, 5A, 120-230 VAC, 50/60 | 1 | 001457-006
7 | Cooling Fan, 24VDC, 12 CFM, 50 mm, 1W | 1 | 78009
8 | Fiber Optic Communication Converter | 1 | 002024-002
9 | HUB, LAN, Ethernet Switch | 1 | 002036-003
10 | Router (inside enclosure) | 1 | 59007
11 | Power Supply, Adj 9-15V, 1.2A, 96-260VAC | 1 | 001457-007
12 | Thermostat, Normally Closed, 60C +/-5C | 1 | 000882-004
13 | Thermostat, Dual, NO+NC, 0-60 C | 1 | 000882-006
14 | Sensor, Temperature, RTD, 100 Ohm PT, 40" Leads | 1 | 000928-004
15 | Cooler, Thermoelectric, 510 BTU/Hr, 230VAC, NEMA 4X | 1 | 001588-003
16 | PreAmp Control Board Assembly, Detector Assy | 1 | 485828-102
CB Omni Extensive Recommended Spares List
Item No. | Description | Quantity | Part Number
1 | Detector Cable Assembly | 1 | 350054-111
2 | LV and Control Cable Assy | 1 | 350056-109
3 | Heater Cable Assembly | 1 | 350069-101
4 | RPP4 Board | 1 | 350030-101
5 | Surge Suppressor, 230VAC | 1 | 77708
6 | Circuit Breaker, 2 pole, 16 amp | 1 | 000222-039
7 | Circuit Breaker, 1 pole, 1 amp | 1 | 000222-041
8 | Circuit Breaker, 1 pole, 6 amp | 1 | 000222-040
9 | Power Supply, 24 VDC, 5A, 120-230 VAC, 50/60 | 1 | 001457-006
10 | Cooling Fan, 24VDC, 12 CFM, 50 mm, 1W | 1 | 78009
11 | Fiber Optic Communication Converter | 1 | 002024-002
12 | Remote Control Power Switch | 1 | 002132-001
13 | HUB, LAN, Ethernet Switch | 1 | 002036-003
14 | Router (inside enclosure) | 1 | 59007
15 | Power Supply, Adj 9-15V, 1.2A, 96-260VAC | 1 | 001457-007
16
17 | Thermostat, Normally Closed, 60C +/-5C | 1 | 000882-004
18 | Thermostat, Dual, NO+NC, 0-60 C | 1 | 000882-006
19 | Sensor, Temperature, RTD, 100 Ohm PT, 40" Leads | 1 | 000928-004
20 | Cooler, Thermoelectric, 510 BTU/Hr, 230VAC, NEMA 4X | 1 | 001588-003
21 | Dell Computer | 1 | 000995-029
22 | PreAmp Control Board Assembly, Detector Assy | 1 | 485828-102
CB Omni Wearable Spare Parts List
Item No. | Description | Quantity | Part Number
1 | Bottom, Center Graphite Liner | 1 | 486257-003
2 | Bottom, Center Poly Liners: Front & Back | 1 | 487425-003
3 | Side Poly Liners, Left and Right | 1 | 487426-003