## Summary
MEP-300 Products Recommended Spares 2020
Part Number | Description_Short | Description_Full | Qty Recommended | Comments
49508 | KIT, MEP-300 TOOLS | MEP-300 Special Tools Kit | At least 1 for any upgrade or analyser (1 additional every 5 analysers) | Suitable for Upgrade MEP AnStat-300, Upgrade MSA-300 or AnStat-330 or MSA-330
49509 | SPARES, MEP-300 U/G CONSUMABLE | Upgrade MEP-300 Consumable/Operational Spares Kit | 1 per AnStat or MSA upgrade | Use when upgrading from MEP AnStat-100, -200, -220 or -230, or from Mk4.2, Mk5.0, Mk 5.1 or M5.2 to MEP-300. Consumables kit usually lasts 1 year.
49510 | KIT, ESS SPARES, MEP300 U/G ANST | Upgrade MEP-300 AnStat Essential/Operational Spares Kit | 1 with AnStat Upgrade then 1 additional per 3 additional AnStat upgrades | Use when upgrading from MEP AnStat-100, -200, -220 or -230 to MEP-300. Assumes you already have spares from before the upgrade.
48947 | KIT,EXP SPARES, MEP-300 U/G ANST AD | Upgrade MEP-300 AnStat Expanded/Capital Spares Kit with Air Dryer | 1 with AnStat Upgrade then 1 additional per 5 additional AnStat upgrades | Use when upgrading from MEP AnStat-100, -200, -220 or -230 to MEP-300. Assumes you already have spares from before the upgrade.
48790 | KIT,ESS SPARES MEP-300 U/G MSA | Upgrade MEP-300 MSA Essential/Operational Spares Kit | 1 with MSA Upgrade then 1 additional per 3 additional MSA upgrades | Use when upgrading from MSA Mk4.2, Mk5.0, Mk 5.1 or M5.2 to MEP-300 MSA. Assumes you already have spares from before the upgrade.
48944 | KIT,EXP SPARES MEP-300 U/G MSA AD | Upgrade MEP-300 MSA Expanded/Capital Spares Kit with Air Dryer | 1 with MSA Upgrade then 1 additional per 5 additional MSA upgrades | Use when upgrading from MSA Mk4.2, Mk5.0, Mk 5.1 or M5.2 to MEP-300 MSA. Assumes you already have spares from before the upgrade.
48784 | KIT,CONS SPRS 400MM ANSTAT-330 | AnStat-330 Consumable/Operational Spares Kit for 400mm tank | 1 per AnStat-330 | Use with new AnStat-330 with a measurement stage tank 400mm width
48785 | KIT,CONS SPRS 500MM ANSTAT-330 | AnStat-330 Consumable/Operational Spares Kit for 500mm tank | 1 per AnStat-330 | Use with new AnStat-330 with a measurement stage tank 500mm width
48786 | KIT,CONS SPRS 600MM ANSTAT-330 | AnStat-330 Consumable/Operational Spares Kit for 600mm tank | 1 per AnStat-330 | Use with new AnStat-330 with a measurement stage tank 600mm width
48787 | KIT, ESS. SPARES ANSTAT-330 | AnStat-330 Essential/Operational Spares Kit | 1 per AnStat-330 then additional 1 per 3 AnStats | Use with new AnStat-330
48945 | KIT, EXP. SPARES ANSTAT-330 AD | AnStat-330 Expanded/Capital Spares Kit with Air Dryer | 1 per AnStat-330 then additional 1 per 5 AnStats | Use with new AnStat-330
48735 | SPARES, CONS MSA-330 | MSA-330 Consumable/Operational Spares Kit | 1 per MSA-330 | Use with new MSA-330. Consumables kit usually lasts 1 year.
48736 | SPARES, ESS MSA-330 | MSA-330 Essential/Operational Spares Kit | 1 per MSA-330 then additional 1 per 3 MSAs | Use with new MSA-330
48946 | SPARES, EXP MSA-330 AD | MSA-330 Expanded/Capital Spares Kit with Air Dryer | 1 per MSA-330 then additional 1 per 5 MSAs | Use with new MSA-330
Detector Spare Parts
07096 | SP KIT,MEP300 DETECTOR REPLACE | Complete MEP-300 detector assembly in portable case, ready for fast replacement. | 1 Recommended for sites with numerous analysers or in a remote location | was 48780
07115 | SP ASSY, MEP300 DET W/O DEM | MEP-300 detector assembly in portable case without DEM, ready for fast replacement. | 1 Recommended for sites with numerous analysers or in a remote location AND with Essential Spares on site already (which include the 30300 DEM).
07119 | SP KIT, AZ MEP300 DETECTOR REPLACE | Complete Long MEP-300 detector assembly in portable case, ready for fast replacement. | 1 Recommended for sites with numerous analysers or in a remote location | Longer MEP-300 used on upgrades of older Analysis Zone style tanks
07120 | SP ASSY, AZ MEP300 DET W/O DEM | Long MEP-300 detector assembly in portable case without DEM, ready for fast replacement. | 1 Recommended for sites with numerous analysers or in a remote location AND with Essential Spares on site already (which include the 30300 DEM). | Longer MEP-300 used on upgrades of older Analysis Zone style tanks

## Upgrade Spares Kits
Detailed Recommended Spares for Upgrade MEP-300 Products (AnStat and MSA) for 2020
Part Number | Description | Qty
49508 | KIT, MEP-300 TOOLS
48613 | ASSY, PIN CARRIAGE LOCK MEP300 | 1
49582 | SHIELD, SOURCE LOADING MEP300 | 1
52724 | PIN, 5x30 BALL PIN LOCK | 1
56051 | KEY, STEEL FOR B+R ENCLOSURES | 1
57541 | SCREW, CSK PHILLIPS SS304 M3x8 | 10
66460 | TOOLBOX | 1
66517 | TWEEZERS, 300mm STRAIGHT THUMB | 1
66526 | SCREWDRIVER, 6" x 1PT PHILLIPS | 1
66529 | TORCH, PEN | 1
66532 | SPANNER, SOCKET 3/8 8PT+HANDLE | 1
66533 | SCREWDRIVER, 2.5 X 150MM BHOFF | 1
66534 | SCREWDRIVER | 1
66537 | KEY, ALLEN SET METRIC | 1
66558 | WRENCH, ADJ 6" CHROME PLATED | 1
66564 | MIRROR & MAGNET, TELESCOPIC | 1
49509 | SPARES, MEP-300 U/G CONSUMABLE
30292 | ASSY, BACKUP WINDOW (MEP300) | 2
43362 | WINDOW, MYLAR PKT OF 20 (MEP) | 3
48160 | KIT, O-RINGS MEP300 PROBE | 1
55035 | VASELINE, JAR | 1
57261 | CABLE TIE, BLACK 150 x 3.5 | 20
57268 | CABLE TIE, BLACK 370 x 4.8 | 20
57367 | SCREW, SET SOCKET SS316 M6x10 | 10
57543 | SCREW, CSK PHILIPS SS304 M3x12 | 10
58275 | SCREW, CSK BRASS M3x8 | 10
49510 | KIT, ESS SPARES, MEP300 U/G ANST
30291 | ASSY, ALARMED WINDOW MEP300 | 1
30300 | ASSY, ELECTRNI ENC MEP300 AMCU | 1
30301 | ASSY, BREAK OUT BOARD MEP300 | 1
37153 | Cable Assy, MEP-300, AnStat 8M | 1
40070 | BRACKET, MSA-330 COOLER VALVE | 1
47701 | PCBA WINDOW CONTACT BOARD | 1
49596 | ASSY, BEACON ASSEMBLY MEP-300 | 1
50772 | A/F, BULKHEAD MALE ELBOW 8-8 | 1
53322 | A/F, SOL VALVE 2 PORT BRASS | 1
53418 | A/F, MALE ELBOW - 8mm | 1
57914 | WASHER, FLAT SS 316 M6 | 6
58104 | SCREW, HEX SS 316 M6x16 | 6
59746 | A/F, BULK HEAD ELBOW 4-4mm | 1
48947 | KIT,EXP SPARES, MEP-300 U/G ANST AD
19083 | CABLE ASSY COAX LEG MEP300 | 1
30298 | ASSY, WRS DRY AIR MEP300 | 1
49750 | ASSY, DRY AIR MODULE 10L/MIN | 1
49798 | ASSY, WATER SEP. FILTER TRAIN | 1
53277 | DRYER, 350L/MIN -15C DEW PT | 1
70719 | RELAY, 24VDC 2CO WITH LED | 1
70803 | POWER SUPPLY, 24V 3.1A DC DIN | 1
75149 | MCCB, SCHNEI 35-50A 3P 70KA | 1
75255 | SWITCH, PRESSURE | 1
75317 | SWITCH, ROT REM/OFF/AUTO/CUT | 1
75352 | SWITCH, P/B ACTUATOR RED | 1
75354 | SWITCH, P/B ACTUATOR BLU | 1
75355 | SWITCH, P/B ACTUATOR WHI | 1
75356 | SWITCH, P/B ACTUATOR GRN P-P | 1
75359 | SWITCH, P/B ACTUATOR BLU P-P | 1
75360 | SWITCH, P/B ACTUATOR WHI P-P | 1
75361 | LAMP, PILOT LIGHT HEAD GRN | 1
75365 | SWITCH, ROT 2POS V WH ILL STAY | 1
75369 | SWITCH, E-STOP ILLUM ACTUATOR | 1
75370 | SWITCH, PB FIXING ADAPTOR FRON | 6
75372 | SWITCH, P/B NO CONTACT | 4
75373 | SWITCH P/B NC CONTACT | 1
75374 | BOOT, (DIAPHRAM) FOR MOELL P/B | 3
75375 | LAMP, PILOT LIGHT HEAD RED | 2
75376 | LAMP, PILOT LIGHT HEAD YELLOW | 1
75381 | SWITCH, P/B LED ASSY 24V GRN | 1
75382 | SWITCH, P/B LED ASSY 24V RED | 3
75384 | SWITCH, P/B LED ASSY 24V BLU | 1
75385 | SWITCH, P/B LED ASSY 24V WHI | 1
76871 | TERMINAL, 24V RELAY OUT C/O | 1
76873 | TERMINAL, 24V INP RELAY 1NO | 1
77337 | ASSY, MP CONTROL TRANSFORMER | 1
77369 | EASY, PROC 24VDC 12I 4AI 8TO | 1
77551 | MCB, 1P 2A C-TRIP | 1
77619 | MPCB, 3P 0.4-0.63A | 1
77624 | MPCB, 3P 4-6.3A | 1
77725 | HANDLE, DOOR CPLE RTRY 3RV2 RD | 1
77729 | MPCB, 3P 23-28A | 1
77762 | VSD, AB 600V 0.75KW P'FLEX525 | 1
77764 | FAN, VSD 600V PF525 A-D FRAME | 1
77920 | CPU, WAGO PFC200 CS 2ETH RS HT | 1
77921 | PSU, WAGO BUS 24VDC | 1
77924 | EPC TERMINAL, WAGO 0V DISTRIB | 1
77926 | EPC BUS TERMINATION, WAGO HT | 1
77927 | EPC IO, WAGO 8INP 24VDC HT | 1
77928 | EPC IO,WAGO 8DO 24VDC 0.5A HT | 1
77930 | MEMORY, CARD SD 2GB WAGO | 1
48790 | KIT,ESS SPARES MEP-300 U/G MSA
30291 | ASSY, ALARMED WINDOW MEP300 | 1
30300 | ASSY, ELECTRNI ENC MEP300 AMCU | 1
30301 | ASSY, BREAK OUT BOARD MEP300 | 1
35985 | Cable Assy, Probe, MSA-330 1M | 1
40070 | BRACKET, MSA-330 COOLER VALVE | 1
47701 | PCBA WINDOW CONTACT BOARD | 1
49596 | ASSY, BEACON ASSEMBLY MEP-300 | 1
50772 | A/F, BULKHEAD MALE ELBOW 8-8 | 1
53322 | A/F, SOL VALVE 2 PORT BRASS | 1
53418 | A/F, MALE ELBOW - 8mm | 1
57914 | WASHER, FLAT SS 316 M6 | 6
58104 | SCREW, HEX SS 316 M6x16 | 6
59746 | A/F, BULK HEAD ELBOW 4-4mm | 1
48944 | KIT,EXP SPARES MEP-300 U/G MSA AD
19083 | CABLE ASSY COAX LEG MEP300 | 1
30298 | ASSY, WRS DRY AIR MEP300 | 1
49750 | ASSY, DRY AIR MODULE 10L/MIN | 1
49798 | ASSY, WATER SEP. FILTER TRAIN | 1
53277 | DRYER, 350L/MIN -15C DEW PT | 1
77726 | VSD, POWERFLX 4M 3P 0.75K 460V | 1
77920 | CPU, WAGO PFC200 CS 2ETH RS HT | 1
77921 | PSU, WAGO BUS 24VDC | 1
77924 | EPC TERMINAL, WAGO 0V DISTRIB | 1
77926 | EPC BUS TERMINATION, WAGO HT | 1
77927 | EPC IO, WAGO 8INP 24VDC HT | 1
77928 | EPC IO,WAGO 8DO 24VDC 0.5A HT | 1
77930 | MEMORY, CARD SD 2GB WAGO | 1

## AnStat-330 Spares Kits
Detailed Recommended Spares for AnStat-330 for 2020
Part Number | Description | Qty
49508 | KIT, MEP-300 TOOLS
48613 | ASSY, PIN CARRIAGE LOCK MEP300 | 1
49582 | SHIELD, SOURCE LOADING MEP300 | 1
52724 | PIN, 5x30 BALL PIN LOCK | 1
56051 | KEY, STEEL FOR B+R ENCLOSURES | 1
57541 | SCREW, CSK PHILLIPS SS304 M3x8 | 10
66460 | TOOLBOX | 1
66517 | TWEEZERS, 300mm STRAIGHT THUMB | 1
66526 | SCREWDRIVER, 6" x 1PT PHILLIPS | 1
66529 | TORCH, PEN | 1
66532 | SPANNER, SOCKET 3/8 8PT+HANDLE | 1
66533 | SCREWDRIVER, 2.5 X 150MM BHOFF | 1
66534 | SCREWDRIVER | 1
66537 | KEY, ALLEN SET METRIC | 1
66558 | WRENCH, ADJ 6" CHROME PLATED | 1
66564 | MIRROR & MAGNET, TELESCOPIC | 1
48784 | KIT,CONS SPRS 400MM ANSTAT-330
30292 | ASSY, BACKUP WINDOW (MEP300) | 2
35744 | IMPELLER, RADIAL DIA190 1"BORE | 1
38319 | BOOT, OUTLET HOSE MOULDED | 1
38320 | HOSE, SAMPLE OUTLET INNER | 2
38321 | HOSE, SAMPLE OUTLET OUTER | 1
43362 | WINDOW, MYLAR PKT OF 20 (MEP) | 3
48160 | KIT, O-RINGS MEP300 PROBE | 1
55035 | VASELINE, JAR 100g | 1
57261 | CABLE TIE, BLACK 150 x 3.5 | 10
57268 | CABLE TIE, BLACK 370 x 4.8 | 10
57367 | SCREW, SET SOCKET SS316 M6x10 | 10
57543 | SCREW, CSK PHILIPS SS304 M3x12 | 10
58275 | SCREW, CSK BRASS M3x8 | 10
48785 | KIT,CONS SPRS 500MM ANSTAT-330
30292 | ASSY, BACKUP WINDOW (MEP300) | 2
38319 | BOOT, OUTLET HOSE MOULDED | 1
38320 | HOSE, SAMPLE OUTLET INNER | 2
38321 | HOSE, SAMPLE OUTLET OUTER | 1
38597 | IMPELLER, DIA240 1"SHAFT | 1
43362 | WINDOW, MYLAR PKT OF 20 (MEP) | 3
48160 | KIT, O-RINGS MEP300 PROBE | 1
55035 | VASELINE, JAR 100g | 1
57261 | CABLE TIE, BLACK 150 x 3.5 | 10
57268 | CABLE TIE, BLACK 370 x 4.8 | 10
57367 | SCREW, SET SOCKET SS316 M6x10 | 10
57543 | SCREW, CSK PHILIPS SS304 M3x12 | 10
58275 | SCREW, CSK BRASS M3x8 | 10
48786 | KIT,CONS SPRS 600MM ANSTAT-330
30292 | ASSY, BACKUP WINDOW (MEP300) | 2
38319 | BOOT, OUTLET HOSE MOULDED | 1
38320 | HOSE, SAMPLE OUTLET INNER | 2
38321 | HOSE, SAMPLE OUTLET OUTER | 1
38596 | IMPELLER, DIA270 1"SHAFT | 1
43362 | WINDOW, MYLAR PKT OF 20 (MEP) | 3
48160 | KIT, O-RINGS MEP300 PROBE | 1
55035 | VASELINE, JAR 100g | 1
57261 | CABLE TIE, BLACK 150 x 3.5 | 10
57268 | CABLE TIE, BLACK 370 x 4.8 | 10
57367 | SCREW, SET SOCKET SS316 M6x10 | 10
57543 | SCREW, CSK PHILIPS SS304 M3x12 | 10
58275 | SCREW, CSK BRASS M3x8 | 10
48787 | KIT, ESS. SPARES ANSTAT-330
30291 | ASSY, ALARMED WINDOW MEP300 | 1
30300 | ASSY, ELECTRNI ENC MEP300 AMCU | 1
30301 | ASSY, BREAK OUT BOARD MEP300 | 1
37153 | Cable Assy, MEP-300, AnStat 8M | 1
37940 | SAMPLER POWER MODULE | 1
38055 | ASSY, LIMIT SWITCH UPGRADED | 1
43314 | SPIGOT, THREADED (SSP) | 2
44655 | PCBA, MET SAMPLER HEAD | 1
46677 | SLINGER, D42 STIR COUP RULAND | 1
47701 | PCBA WINDOW CONTACT BOARD | 1
49596 | ASSY, BEACON ASSEMBLY MEP-300 | 1
50661 | COUPLING, 25F-25F SS316 RULAND | 1
50772 | A/F, BULKHEAD MALE ELBOW 8-8 | 1
53322 | A/F, SOL VALVE 2 PORT BRASS | 1
53418 | A/F, MALE ELBOW - 8mm | 1
57914 | WASHER, FLAT SS 316 M6 | 6
58104 | SCREW, HEX SS 316 M6x16 | 6
59746 | A/F, BULK HEAD ELBOW 4-4mm | 1
66480 | BELT, TIMING (AM643/260) | 1
66895 | MOTOR, GEAR .55K 400V 50H 267R | 1
48945 | KIT, EXP. SPARES ANSTAT-330 AD
07028 | SP KIT, MET SAMPLER MOTOR | 1
07095 | SP KIT, 260 SAMPLER CARRIER | 1
19083 | CABLE ASSY COAX LEG MEP300 | 1
24368 | ASSY, MET. SAMPLER HEAD UNIT | 1
27970 | MEMORY, PROG ANSTATF 0V0 | 1
28079 | CUTTER, 10MM SAMPLER | 1
30298 | ASSY, WRS DRY AIR MEP300 | 1
38146 | PULLEY, SAMPLER BEARING | 1
38723 | PULLEY, REVERSE ENTRY | 1
44092 | SHAFT, PULLEY SAMPLER | 1
44110 | RAIL, GUIDE SAMPLER 260 | 2
46544 | SHAFT, STIRRER 1" DIA X 950 LG | 1
46612 | SHAFT, STIRRER 700 LONG | 1
47038 | PLUG, PULLEY TAPERLOCK | 1
49750 | ASSY, DRY AIR MODULE 10L/MIN | 1
49798 | ASSY, WATER SEP. FILTER TRAIN | 1
50012 | A/F, FEMALE TEE G1/4 | 1
50018 | A/F, SPEED CONTROLLER 8 x 1/4" | 2
50023 | AIR CYL, 80x750 275 EXT ISO | 1
50092 | AIR CYL, 25x25 ISO C/W SS ROD | 1
50099 | VALVE,1/2"SAFETY(1050kPa)+CERT | 1
50103 | TUBE, POLYETH 8MM BLACK | 5
50104 | TUBE, POLYETHYLENE 8mm BLUE | 2
50131 | A/F, BULKHEAD CON 8mm | 1
50133 | A/F, TEE SWIVEL 8-1/4G | 1
50137 | A/F, BULKHEAD 8-1/4"G | 1
50140 | A/F, MALE 8-1/4" BSP | 1
50142 | A/F, ELBOW 8-1/4" BSP | 1
50145 | A/F, ELBOW 8-1/8"G | 1
50147 | A/F, STRAIGHT MALE 8mm-3/8" | 1
50165 | A/F, VALVE CHECK G1/4 | 1
53277 | DRYER, 350L/MIN -15C DEW PT | 1
66474 | BUSH, TAPER LOCK 12MM BORE SS | 1
66940 | CIRCLIP S/S, INTERNAL 30MM | 2
70719 | RELAY, 24VDC 2CO WITH LED | 1
70803 | POWER SUPPLY, 24V 3.1A DC DIN | 1
75255 | SWITCH, PRESSURE | 1
75317 | SWITCH, ROT REM/OFF/AUTO/CUT | 1
75352 | SWITCH, P/B ACTUATOR RED | 1
75354 | SWITCH, P/B ACTUATOR BLU | 1
75355 | SWITCH, P/B ACTUATOR WHI | 1
75356 | SWITCH, P/B ACTUATOR GRN P-P | 1
75359 | SWITCH, P/B ACTUATOR BLU P-P | 1
75360 | SWITCH, P/B ACTUATOR WHI P-P | 1
75361 | LAMP, PILOT LIGHT HEAD GRN | 1
75365 | SWITCH, ROT 2POS V WH ILL STAY | 1
75369 | SWITCH, E-STOP ILLUM ACTUATOR | 1
75370 | SWITCH, PB FIXING ADAPTOR FRON | 6
75372 | SWITCH, P/B NO CONTACT | 4
75373 | SWITCH P/B NC CONTACT | 1
75374 | BOOT, (DIAPHRAM) FOR MOELL P/B | 3
75375 | LAMP, PILOT LIGHT HEAD RED | 2
75376 | LAMP, PILOT LIGHT HEAD YELLOW | 1
75381 | SWITCH, P/B LED ASSY 24V GRN | 1
75382 | SWITCH, P/B LED ASSY 24V RED | 3
75384 | SWITCH, P/B LED ASSY 24V BLU | 1
75385 | SWITCH, P/B LED ASSY 24V WHI | 1
76871 | TERMINAL, 24V RELAY OUT C/O | 1
76873 | TERMINAL, 24V INP RELAY 1NO | 1
77337 | ASSY, MP CONTROL TRANSFORMER | 1
77369 | EASY, PROC 24VDC 12I 4AI 8TO | 1
77551 | MCB, 1P 2A C-TRIP | 1
77619 | MPCB, 3P 0.4-0.63A | 1
77624 | MPCB, 3P 4-6.3A | 1
77725 | HANDLE, DOOR CPLE RTRY 3RV2 RD | 1
77729 | MPCB, 3P 23-28A | 1
77762 | VSD, AB 600V 0.75KW P'FLEX525 | 1
77764 | FAN, VSD 600V PF525 A-D FRAME | 1
77920 | CPU, WAGO PFC200 CS 2ETH RS HT | 1
77921 | PSU, WAGO BUS 24VDC | 1
77924 | EPC TERMINAL, WAGO 0V DISTRIB | 1
77926 | EPC BUS TERMINATION, WAGO HT | 1
77927 | EPC IO, WAGO 8INP 24VDC HT | 1
77928 | EPC IO,WAGO 8DO 24VDC 0.5A HT | 1
77930 | MEMORY, CARD SD 2GB WAGO | 1

## MSA-330 Spares Kits
Detailed Recommended Spares for MSA-330 for 2020
Part Number | Description | Qty
49508 | KIT, MEP-300 TOOLS
48613 | ASSY, PIN CARRIAGE LOCK MEP300 | 1
49582 | SHIELD, SOURCE LOADING MEP300 | 1
52724 | PIN, 5x30 BALL PIN LOCK | 1
56051 | KEY, STEEL FOR B+R ENCLOSURES | 1
57541 | SCREW, CSK PHILLIPS SS304 M3x8 | 10
66460 | TOOLBOX | 1
66517 | TWEEZERS, 300mm STRAIGHT THUMB | 1
66526 | SCREWDRIVER, 6" x 1PT PHILLIPS | 1
66529 | TORCH, PEN | 1
66532 | SPANNER, SOCKET 3/8 8PT+HANDLE | 1
66533 | SCREWDRIVER, 2.5 X 150MM BHOFF | 1
66534 | SCREWDRIVER | 1
66537 | KEY, ALLEN SET METRIC | 1
66558 | WRENCH, ADJ 6" CHROME PLATED | 1
66564 | MIRROR & MAGNET, TELESCOPIC | 1
48735 | SPARES, CONS MSA-330
30292 | ASSY, BACKUP WINDOW (MEP300) | 2
38319 | BOOT, OUTLET HOSE MOULDED | 2
38320 | HOSE, SAMPLE OUTLET INNER | 4
38321 | HOSE, SAMPLE OUTLET OUTER | 1
43362 | WINDOW, MYLAR PKT OF 20 (MEP) | 1
48160 | KIT, O-RINGS MEP300 PROBE | 1
50271 | DIAPHRAGM, BURKET EPDM 15mm | 1
55035 | VASELINE, JAR 100g | 1
57261 | CABLE TIE, BLACK 150 x 3.5 | 20
57541 | SCREW, CSK PHILLIPS SS304 M3x8 | 10
58275 | SCREW, CSK BRASS M3x8 | 10
48736 | SPARES, ESS MSA-330
23927 | ASSY, SAMPLER REVERSING MODULE | 1
27174 | MODULE, RLC | 1
30291 | ASSY, ALARMED WINDOW MEP300 | 1
30300 | ASSY, ELECTRNI ENC MEP300 AMCU | 1
30301 | ASSY, BREAK OUT BOARD MEP300 | 1
35985 | Cable Assy, Probe, MSA-330 1M | 1
38055 | ASSY, LIMIT SWITCH UPGRADED | 2
40070 | BRACKET, MSA-330 COOLER VALVE | 1
43314 | SPIGOT, THREADED (SSP) | 2
44655 | PCBA, MET SAMPLER HEAD | 1
46677 | SLINGER, D42 STIR COUP RULAND | 6
47701 | PCBA WINDOW CONTACT BOARD | 1
49596 | ASSY, BEACON ASSEMBLY MEP-300 | 1
50772 | A/F, BULKHEAD MALE ELBOW 8-8 | 1
53322 | A/F, SOL VALVE 2 PORT BRASS | 1
53418 | A/F, MALE ELBOW - 8mm | 1
57914 | WASHER, FLAT SS 316 M6 | 6
58104 | SCREW, HEX SS 316 M6x16 | 6
59746 | A/F, BULK HEAD ELBOW 4-4mm | 1
70719 | RELAY, 24VDC 2CO WITH LED | 1
70725 | RELAY, LATCHING 24VDC 2 FORM C | 1
48946 | SPARES, EXP MSA-330 AD
07028 | SP KIT, MET SAMPLER MOTOR | 1
07095 | SP KIT, 260 SAMPLER CARRIER | 1
19083 | CABLE ASSY COAX LEG MEP300 | 1
23961 | MODULE, RLC 16P DIGITAL I/P | 1
23969 | MODULE, RLC 16P DIGITAL O/P | 1
24085 | ASSY, OPERATOR PANEL (MSA) | 1
24441 | MODULE, PROTECTION (MSA) | 1
28079 | CUTTER, 10MM SAMPLER | 1
30298 | ASSY, WRS DRY AIR MEP300 | 1
35501 | TROLLEY, CABLE | 6
38146 | PULLEY, SAMPLER BEARING | 1
38723 | PULLEY, REVERSE ENTRY | 1
40280 | PCBA RLC 8 Relay OP | 1
44144 | ASSY, WHEEL 75 DIA. | 12
44179 | ASSY, DRIVE MODULE | 1
44183 | ASSY, SAFETY LATCH | 1
46831 | BUSH, SAMPLER CARRIAGE, | 4
47038 | PLUG, PULLEY TAPERLOCK | 1
49750 | ASSY, DRY AIR MODULE 10L/MIN | 1
49798 | ASSY, WATER SEP. FILTER TRAIN | 1
50093 | AIR CYL, 100x500 ISO | 1
50116 | VALVE, 15mm DIAPH. N/CLOSED | 1
50128 | A/F, BULKHD UNION 10MM SS | 1
50131 | A/F, BULKHEAD CON 8mm | 1
50140 | A/F, MALE 8-1/4" BSP | 1
50142 | A/F, ELBOW 8-1/4" BSP | 1
50144 | A/F, STRT CON 8-1/8"G | 1
50145 | A/F, ELBOW 8-1/8"G | 1
50148 | A/F, PRESSURE GAUGE G1/8" R.E. | 1
50165 | A/F, VALVE CHECK G1/4 | 1
50182 | A/F, SOL VALVE 3/2 1/8" 24VDC | 1
50377 | A/F, SOL VALVE 5/3 COFF 24V | 1
53277 | DRYER, 350L/MIN -15C DEW PT | 1
66474 | BUSH, TAPER LOCK 12MM BORE SS | 1
66480 | BELT, TIMING (AM643/260) | 1
66940 | CIRCLIP S/S, INTERNAL 30MM | 4
75237 | SWITCH, HD LIMIT SPDT END PLUN | 1
75255 | SWITCH, PRESSURE | 1
75289 | PROX, INDUC 30MM PNP 24V 3TERM | 1
75295 | SWITCH, ISOL 3PH LOCK ON LID | 1
75296 | SWITCH, ROT 3POS SAMPL ON LID | 1
75351 | SWITCH, P/B ACTUATOR GRN | 1
75358 | SWITCH, P/B ACTUATOR YEL P-P | 1
75369 | SWITCH, E-STOP ILLUM ACTUATOR | 1
75370 | SWITCH, PB FIXING ADAPTOR FRON | 1
75372 | SWITCH, P/B NO CONTACT | 1
75373 | SWITCH P/B NC CONTACT | 1
75374 | BOOT, (DIAPHRAM) FOR MOELL P/B | 3
75381 | SWITCH, P/B LED ASSY 24V GRN | 1
75382 | SWITCH, P/B LED ASSY 24V RED | 1
75385 | SWITCH, P/B LED ASSY 24V WHI | 1
77317 | ASSY, CNTL TRANSFORMER FOR MSA | 1
77596 | CONTACTOR, 7.5kW 400V AC3 24V | 1
77626 | MPCB, 3P 2.8-4A | 1
77687 | MCB, 1P 2A C-TRIP | 1
77725 | HANDLE, DOOR CPLE RTRY 3RV2 RD | 1
77726 | VSD, POWERFLX 4M 3P 0.75K 460V | 1
77727 | MPCB, 3P 0.7-1A | 1
77729 | MPCB, 3P 23-28A | 1
77730 | CONTACT, AUX NO+NC FOR SIEM | 1
77731 | MPCB, 3P 1.8-2.5A | 1
77736 | SPD, 1P 40KA 420V SURGE PROT | 1
77920 | CPU, WAGO PFC200 CS 2ETH RS HT | 1
77921 | PSU, WAGO BUS 24VDC | 1
77925 | COMMS MODULE, WAGO 232/485 HT | 1
77926 | EPC BUS TERMINATION, WAGO HT | 1
77927 | EPC IO, WAGO 8INP 24VDC HT | 1
77928 | EPC IO,WAGO 8DO 24VDC 0.5A HT | 1
77930 | MEMORY, CARD SD 2GB WAGO | 1
78145 | PSU, 24VDC 5A 120-230/230-500V | 1