| REV | ECO# | REASON FOR REVISION | DATE | APPROVED |
| --- | --- | --- | --- | --- |
| A | 8220 | Initial Release | 05/06/2013 | Jason Lu |
| B | 8467 | Released Version 02.000 | 06/24/2014 | Jason Lu |
| C | 8777 | Released Version 03.000: Density & Level with PROFIBUS PA. | 01/20/2016 | Jason Lu |
| D | 8903 | Release Version 03.500 Added InterfacePRO to MS2011 platform | 09/01/2016 | Jason Lu |
| E | 9079 | Release Version 3.600 Build Date/Time: 02/27/2017 2:40:02 PM Added ability to perform STD/CAL in Primary Measurement type Unit. | 02/28/2017 | P. Mistry |
| TITLE: CONTROL DOC FOR 9-0700-007 Software, EZ Cal II, MS2011 |  |  | Originator Jason Lu |  |
| # Thermo Fisher Scientific Sugar Land, Texas, 77478 |  |  | Doc No. 9-0700-007 |  |
|  |  |  | Sheet 1 of 3 |  |

- The folder 9-0700-007 contains the following files required to install the EZ Cal II application on a PC.

- ..\DotNetFX40\dotNetFx40_Full_x86_x64.exe

- ..\WindowsInstaller3_1\ WindowsInstaller-KB893803-v2-x86.exe

- setup.exe

- EZ Cal II.msi

- Minimum requirements

- Windows compatible PC

- Windows XP Professional SP3, Windows 7 (32/64 bit), Windows 8.

- Memory: 512 MB and up

- Disk space:

  - 850 MB if .NET 4 not installed (32 bit).

  - 2 GB if .NET 4 not installed (64 bit).

  - 30 MB if .NET 4 already installed

- After installation the version may be verified by accessing the “Help” -> “About EZ Cal II” screen.

- The associated file 9-0700-007 S03.6.0.0 SVN_758.zip contains the source code.

- A copy of the source can also be found in the svn://10.0.11.227/NuclearSensors/NGNP/PC_UI/tags/V3.6.0.0, SVN Revision 758.

- MS2011_ReleaseNotes.pdf  contains the firmware/software release information . The txt is located at svn://10.0.11.227/NuclearSensors/NGNP/_NGNP_Common/trunk/Documents/Project

- Note: All of the released files must be maintained by documentation control.