## Instructions
PureQuant Th17 Methylation Assay Analysis Instructions
1. After qPCR run is complete, execute analysis on the qPCR instrument to calculate: Ct Average, Ct Standard Deviation, and Copy Number. 2. Export data in .txt or Excel format. 3. Populate the respective areas in yellow in the following order: Standards, Reference, NTC and then Samples. 4. The final percent cell type of interest is highlighted in orange. 5. The Q.C. metrics will display a green colored "Pass" or red colored "Fail" for each respective assay component.
Note: 1. Q.C. metrics are required to fall within the set parameters for a vaild experiment. 2. All Standard dilutions must be included in the analysis. Deletion of one complete dilution is non-compliant. 3. Users may need to recalculate the linear regression by omitting bad replicates for the Standard in the event of a failing Q.C. Unknown copy number must be re-estimated and can be done so automatically with the instrument software or manually. 4. If Q.C. for Reference or Samples fail due to a bad replicate, replace it with the average value of two good replicates. 5. Repeating the qPCR assay may resolve replicate variability and failed results.

## Th17 Analysis Template
CTS™ PureQuant™ Th17 Assay Analysis Template
STANDARDS | TpG |  |  |  |  | CpG | [5 empty] | Key:
Standard ID | Copy Number | Average Ct | STDEV Ct | C.V. (%) | Q.C. | Copy Number | Average Ct | STDEV Ct | C.V. (%) | Q.C.
[12 empty] | % Cell Type | User Input
STD-1 31250 | 31250 |  |  | #DIV/0! | Pass | 31250 |  |  | #DIV/0! | Pass
STD-2 6250 | 6250 |  |  | #DIV/0! | Pass | 6250 |  |  | #DIV/0! | Pass |  | Pass | Fail
STD-3 1250 | 1250 |  |  | #DIV/0! | Pass | 1250 |  |  | #DIV/0! | Pass
STD-4 250 | 250 |  |  | #DIV/0! | Pass | 250 |  |  | #DIV/0! | Pass
STD-5 50 | 50 |  |  | #DIV/0! | Pass | 50 |  |  | #DIV/0! | Pass
STD-6 30 | 30 |  |  | #DIV/0! | Pass | 30 |  |  | #DIV/0! | Pass
CONTROLS | TpG | [6 empty] | CpG | [6 empty] | C.V.(%) | Q.C. | Reference Final % Th17 Cells
| Copy Number |  |  | Average Copy Number | STDEV | C.V.(%) | Q.C. | Copy Number |  |  | Average Copy Number | STDEV | C.V.(%) | Q.C.
| Replicate 1 | Replicate 2 | Replicate 3 |  |  |  |  | Replicate 1 | Replicate 2 | Replicate 3
Reference |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
NTCs | Ct Values | [5 empty] | Q.C. | Ct Values | [5 empty] | Q.C.
| Replicate 1 | Replicate 2 | Replicate 3 |  |  |  |  | Replicate 1 | Replicate 2 | Replicate 3
| 50 | 50 | 50 |  |  |  | Pass | 50 | 50 | 50 |  |  |  | Pass
*If NTC is undetermined leave value as 50
SAMPLES | TpG | [6 empty] | CpG | [6 empty] | C.V.(%) | Q.C. | Final % Th17 Cells
| Copy Number |  |  | Average Copy Number | STDEV | C.V.(%) | Q.C. | Copy Number |  |  | Average Copy Number | STDEV | C.V.(%) | Q.C.
| Replicate 1 | Replicate 2 | Replicate 3 |  |  |  |  | Replicate 1 | Replicate 2 | Replicate 3
Sample 1 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Sample 2 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Sample 3 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Sample 4 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Sample 5 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Sample 6 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Sample 7 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Sample | Replicate | Final C.V. Calculation
Reference | 1 | #DIV/0! | #DIV/0! | #DIV/0!
| 2 | #DIV/0! | #DIV/0! | #DIV/0! | Final % Th17
| 3 | #DIV/0! | #DIV/0! | #DIV/0! | Samples | %CD8
Sample 1 | 1 | #DIV/0! | #DIV/0! | #DIV/0! | Sample 1 | #DIV/0!
| 2 | #DIV/0! | #DIV/0! | #DIV/0! | Sample 2 | #DIV/0!
| 3 | #DIV/0! | #DIV/0! | #DIV/0! | Sample 3 | #DIV/0!
Sample 2 | 1 | #DIV/0! | #DIV/0! | #DIV/0! | Sample 4 | #DIV/0!
| 2 | #DIV/0! | #DIV/0! | #DIV/0! | Sample 5 | #DIV/0!
| 3 | #DIV/0! | #DIV/0! | #DIV/0! | Sample 6 | #DIV/0!
Sample 3 | 1 | #DIV/0! | #DIV/0! | #DIV/0! | Sample 7 | #DIV/0!
| 2 | #DIV/0! | #DIV/0! | #DIV/0!
| 3 | #DIV/0! | #DIV/0! | #DIV/0!
Sample 4 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
| 2 | #DIV/0! | #DIV/0! | #DIV/0!
| 3 | #DIV/0! | #DIV/0! | #DIV/0!
Sample 5 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
| 2 | #DIV/0! | #DIV/0! | #DIV/0!
| 3 | #DIV/0! | #DIV/0! | #DIV/0!
Sample 6 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
| 2 | #DIV/0! | #DIV/0! | #DIV/0!
| 3 | #DIV/0! | #DIV/0! | #DIV/0!
Sample 7 | 1 | #DIV/0! | #DIV/0! | #DIV/0!
| 2 | #DIV/0! | #DIV/0! | #DIV/0!
| 3 | #DIV/0! | #DIV/0! | #DIV/0!

## Sample Data
CTS™ PureQuant™ Th17 Assay Analysis Template
STANDARDS | TpG |  |  |  |  | CpG | [5 empty] | Key:
Standard ID | Copy Number | Average Ct | STDEV Ct | C.V. (%) | Q.C. | Copy Number | Average Ct | STDEV Ct | C.V. (%) | Q.C.
[12 empty] | % Cell Type | User Input
STD-1 31250 | 31250 | 26.2975 | 0.066458 | 0.25272 | Pass | 31250 | 24.2097 | 0.085087 | 0.35146 | Pass
STD-2 6250 | 6250 | 28.8057 | 0.21832 | 0.75792 | Pass | 6250 | 26.6543 | 0.14537 | 0.5454 | Pass |  | Pass | Fail
STD-3 1250 | 1250 | 31.1067 | 0.21779 | 0.70012 | Pass | 1250 | 29.0635 | 0.06929 | 0.23841 | Pass
STD-4 250 | 250 | 33.9783 | 0.2107 | 0.62009 | Pass | 250 | 31.5815 | 0.082773 | 0.26209 | Pass
STD-5 50 | 50 | 36.2639 | 0.44271 | 1.2208 | Pass | 50 | 33.6927 | 0.28713 | 0.85221 | Pass
STD-6 30 | 30 | 36.7304 | 0.18517 | 0.50413 | Pass | 30 | 34.4262 | 0.1601 | 0.46506 | Pass
CONTROLS | TpG | [6 empty] | CpG | [6 empty] | C.V.(%) | Q.C. | Reference Final % Th17 Cells
| Copy Number |  |  | Average Copy Number | STDEV | C.V.(%) | Q.C. | Copy Number |  |  | Average Copy Number | STDEV | C.V.(%) | Q.C.
| Replicate 1 | Replicate 2 | Replicate 3 |  |  |  |  | Replicate 1 | Replicate 2 | Replicate 3
Reference | 214.6965 | 230.8237 | 219.4818 | 221.6673 | 8.2827 | 3.7366 | Pass | 10471.7891 | 12215.9893 | 10790.8262 | 11159.5348 | 928.7185 | 8.3222 | Pass | 7.501 | Pass | 1.9477
NTCs | Ct Values | [5 empty] | Q.C. | Ct Values | [5 empty] | Q.C.
| Replicate 1 | Replicate 2 | Replicate 3 |  |  |  |  | Replicate 1 | Replicate 2 | Replicate 3
| 50 | 50 | 50 |  |  |  | Pass | 50 | 50 | 50 |  |  |  | Pass
*If NTC is undetermined leave value as 50
SAMPLES | TpG | [6 empty] | CpG | [6 empty] | C.V.(%) | Q.C. | Final % Th17 Cells
| Copy Number |  |  | Average Copy Number | STDEV | C.V.(%) | Q.C. | Copy Number |  |  | Average Copy Number | STDEV | C.V.(%) | Q.C.
| Replicate 1 | Replicate 2 | Replicate 3 |  |  |  |  | Replicate 1 | Replicate 2 | Replicate 3
Sample 1 | 2172.5022 | 2254.7261 | 1795.4598 | 2074.2294 | 244.897 | 11.8066 | Pass | 7069.1895 | 7858.0605 | 7752.3574 | 7559.8691 | 428.2151 | 5.6643 | Pass | 9.045 | Pass | 21.5301
Sample 2 | 1749.7491 | 2347.4202 | 2312.4312 | 2136.5335 | 335.4216 | 15.6993 | Pass | 8212.875 | 8335.1211 | 9248.1699 | 8598.722 | 565.7499 | 6.5795 | Pass | 11.9707 | Pass | 19.902
Sample 3 | 2238.179 | 2044.1324 | 1497.1819 | 1926.4978 | 384.2494 | 19.9455 | Pass | 8051.6309 | 7024.3672 | 6907.6997 | 7327.8993 | 629.4787 | 8.5902 | Pass | 15.7117 | Pass | 20.8171
Sample 4 | 3608.3301 | 2864.405 | 3159.6836 | 3210.8062 | 374.5881 | 11.6665 | Pass | 13621.1113 | 13364.4189 | 13041.5508 | 13342.3604 | 290.4093 | 2.1766 | Pass | 8.2638 | Pass | 19.3969
Sample 5 | 2477.5657 | 2540.0732 | 2262.437 | 2426.692 | 145.6419 | 6.0017 | Pass | 12613.7822 | 12123.6484 | 12164.0869 | 12300.5059 | 272.0577 | 2.2118 | Pass | 4.641 | Pass | 16.4776
Sample 6 | 2837.6133 | 2416.6443 | 2874.9363 | 2709.7313 | 254.5059 | 9.3923 | Pass | 12492.5576 | 11334.1416 | 11741.9658 | 11856.2217 | 587.5991 | 4.956 | Pass | 7.5319 | Pass | 18.6032
Sample 7 | 919.1682 | 988.1939 | 986.1208 | 964.4943 | 39.2673 | 4.0713 | Pass | 13818.6465 | 11756.3682 | 11218.0176 | 12264.3441 | 1372.7153 | 11.1927 | Pass | 9.1813 | Pass | 7.2908
Sample | Replicate | Final C.V. Calculation
Reference | 1 | 2.009 | 1.7271 | 1.9508
| 2 | 2.1567 | 1.8545 | 2.0943 | Final % Th17
| 3 | 2.0529 | 1.765 | 1.9934 | Samples | %CD8
Sample 1 | 1 | 23.5076 | 21.6588 | 21.8895 | Sample 1 | 21.5301
| 2 | 24.1822 | 22.2958 | 22.5313 | Sample 2 | 19.902
| 3 | 20.2542 | 18.599 | 18.8049 | Sample 3 | 20.8171
Sample 2 | 1 | 17.5631 | 17.3502 | 15.9098 | Sample 4 | 19.3969
| 2 | 22.2287 | 21.9744 | 20.2441 | Sample 5 | 16.4776
| 3 | 21.9702 | 21.718 | 20.0027 | Sample 6 | 18.6032
Sample 3 | 1 | 21.7514 | 24.1638 | 24.472 | Sample 7 | 7.2908
| 2 | 20.2474 | 23.9878 | 23.1389
| 3 | 15.6792 | 17.5694 | 17.8132
Sample 4 | 1 | 20.9428 | 21.2596 | 21.6718
| 2 | 17.3753 | 17.6501 | 18.0084
| 3 | 18.8292 | 19.1217 | 19.5027
Sample 5 | 1 | 16.4171 | 16.9682 | 16.9214
| 2 | 16.7619 | 17.3222 | 17.2745
| 3 | 15.2084 | 15.7266 | 15.6825
Sample 6 | 1 | 18.51 | 20.023 | 19.4629
| 2 | 16.2091 | 17.5746 | 17.0684
| 3 | 18.7079 | 20.2331 | 19.6686
Sample 7 | 1 | 6.2368 | 7.2515 | 7.5732
| 2 | 6.6739 | 7.7538 | 8.0958
| 3 | 6.6608 | 7.7388 | 8.0802